## Panel_Staining_Order
Multiplex panel staining order
Panel | Round | Target | Primary_host | Company | Catalog_number | Dilution | HRP_secondary | TSA_fluorophore | Display_pseudocolor | Stripping_after_round
Human: GART / EPCAM / OLFM4 | 1 | GART | Rabbit | Proteintech | 13659-1-AP | 1:400 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | CY3 | Yellow | Yes — citrate buffer pH 6.0; medium-high microwave; 30 min; natural cooling; PBS 3 × 5 min
Human: GART / EPCAM / OLFM4 | 2 | OLFM4 | Rabbit | Proteintech | 28432-1-AP | 1:1000 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | CY5 | Purple | Yes — citrate buffer pH 6.0; medium-high microwave; 30 min; natural cooling; PBS 3 × 5 min
Human: GART / EPCAM / OLFM4 | 3 | EPCAM | Rabbit | Abcam | ab213500 | 1:8000 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | Fluorescein | Green | No — final staining cycle
Human: GART / MYBL2 / Ki67 | 1 | GART | Rabbit | Proteintech | 13659-1-AP | 1:400 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | CY3 | Yellow | Yes — citrate buffer pH 6.0; medium-high microwave; 30 min; natural cooling; PBS 3 × 5 min
Human: GART / MYBL2 / Ki67 | 2 | MYBL2 | Rabbit | Proteintech | 18896-1-AP | 1:200 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | CY5 | Purple | Yes — citrate buffer pH 6.0; medium-high microwave; 30 min; natural cooling; PBS 3 × 5 min
Human: GART / MYBL2 / Ki67 | 3 | Ki67 | Rabbit | Servicebio | GB151499 | 1:4000 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | Fluorescein | Green | No — final staining cycle
Human: GART / MIF / CD74 | 1 | GART | Rabbit | Proteintech | 13659-1-AP | 1:400 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | CY3 | Yellow | Yes — citrate buffer pH 6.0; medium-high microwave; 30 min; natural cooling; PBS 3 × 5 min
Human: GART / MIF / CD74 | 2 | MIF | Rabbit | Affinity | DF6404 | 1:800 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | CY5 | Purple | Yes — citrate buffer pH 6.0; medium-high microwave; 30 min; natural cooling; PBS 3 × 5 min
Human: GART / MIF / CD74 | 3 | CD74 | Rabbit | ABclonal | A26945PM | 1:6000 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | Fluorescein | Green | No — final staining cycle
Mouse: GART / EPCAM / OLFM4 | 1 | GART | Rabbit | Proteintech | 13659-1-AP | 1:400 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | CY3 | Yellow | Yes — citrate buffer pH 6.0; medium-high microwave; 30 min; natural cooling; PBS 3 × 5 min
Mouse: GART / EPCAM / OLFM4 | 2 | OLFM4 | Rabbit | Proteintech | 28432-1-AP | 1:1000 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | CY5 | Purple | Yes — citrate buffer pH 6.0; medium-high microwave; 30 min; natural cooling; PBS 3 × 5 min
Mouse: GART / EPCAM / OLFM4 | 3 | EPCAM | Rabbit | Abcam | ab213500 | 1:8000 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | Fluorescein | Green | No — final staining cycle
Mouse: GART / MYBL2 / Ki67 | 1 | GART | Rabbit | Proteintech | 13659-1-AP | 1:400 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | CY3 | Yellow | Yes — citrate buffer pH 6.0; medium-high microwave; 30 min; natural cooling; PBS 3 × 5 min
Mouse: GART / MYBL2 / Ki67 | 2 | MYBL2 | Rabbit | Proteintech | 18896-1-AP | 1:200 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | CY5 | Purple | Yes — citrate buffer pH 6.0; medium-high microwave; 30 min; natural cooling; PBS 3 × 5 min
Mouse: GART / MYBL2 / Ki67 | 3 | Ki67 | Rabbit | Servicebio | GB151499 | 1:4000 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | Fluorescein | Green | No — final staining cycle
Mouse: GART / MIF / CD74 | 1 | GART | Rabbit | Proteintech | 13659-1-AP | 1:400 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | CY3 | Yellow | Yes — citrate buffer pH 6.0; medium-high microwave; 30 min; natural cooling; PBS 3 × 5 min
Mouse: GART / MIF / CD74 | 2 | MIF | Rabbit | Affinity | DF6404 | 1:800 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | CY5 | Purple | Yes — citrate buffer pH 6.0; medium-high microwave; 30 min; natural cooling; PBS 3 × 5 min
Mouse: GART / MIF / CD74 | 3 | CD74 | Rabbit | ABclonal | A26945PM | 1:6000 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | Fluorescein | Green | No — final staining cycle
Mouse: GART / PAICS / PCNA | 1 | GART | Rabbit | Proteintech | 13659-1-AP | 1:400 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | CY3 | Yellow | Yes — citrate buffer pH 6.0; medium-high microwave; 30 min; natural cooling; PBS 3 × 5 min
Mouse: GART / PAICS / PCNA | 2 | PAICS | Rabbit | Proteintech | 12967-1-AP | 1:400 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | CY5 | Purple | Yes — citrate buffer pH 6.0; medium-high microwave; 30 min; natural cooling; PBS 3 × 5 min
Mouse: GART / PAICS / PCNA | 3 | PCNA | Rabbit | Abcam | ab92552 | 1:1000 | Polymer-HRP goat anti-rabbit; AiFang Bio AFIHC003; ready-to-use; 30 min at room temperature | Fluorescein | Green | No — final staining cycle

## Sequential_TSA_SOP
Shared sequential TSA standard operating procedure
Step | Procedure | Reagent | Condition | Time | Wash | Purpose
1 | Deparaffinization and rehydration | Xylene; absolute, 95%, 80%, and 75% ethanol; distilled water | Xylene 10 min × 2; absolute ethanol 5 min; 95% ethanol 5 min; 80% ethanol 5 min; 75% ethanol 5 min | As specified | Distilled-water rinse | Remove paraffin and rehydrate FFPE sections
2 | Antigen retrieval | Citrate antigen-retrieval buffer pH 6.0 (Nanjing Yiermei Biotechnology, YM1004) | Medium-high microwave heating; prevent drying; natural cooling to room temperature | 30 min | PBS 3 × 5 min | Retrieve antigens
3 | Endogenous peroxidase block | 3% hydrogen peroxide | Room temperature, dark | 10 min | PBS 3 × 5 min | Block endogenous peroxidase activity
4 | Non-specific binding block | 3% BSA | Room temperature | 30 min | None specified before primary | Reduce non-specific binding
5 | Cycle-specific rabbit primary antibody | Corresponding primary antibody diluted in PBS | 4°C overnight; then 30-min recovery at room temperature | Overnight + 30 min | PBS 3 × 5 min | Bind the target for the current cycle
6 | Polymer-HRP secondary | Polymer-HRP goat anti-rabbit (AiFang Bio, AFIHC003; ready-to-use) | Room temperature | 30 min | PBS 3 × 5 min | Provide HRP for tyramide deposition
7 | TSA fluorophore deposition | Corresponding AAT Bioquest tyramide: Fluorescein 11062, CY3 11065, or CY5 11066 | Room temperature, dark | 10 min | PBS 3 × 5 min | Deposit cycle-specific fluorophore
8 | Antibody/HRP stripping after cycle 1 | Citrate antigen-retrieval buffer pH 6.0 (YM1004) | Medium-high microwave heating; remove bound primary and HRP secondary; natural cooling | 30 min | PBS 3 × 5 min | Separate same-species primary-antibody cycles
9 | Reblocking before cycle 2 | 3% BSA | Room temperature | 30 min | None specified before primary | Reduce non-specific binding before next cycle
10 | Cycle 2 staining | Cycle-2 rabbit primary; Polymer-HRP; corresponding tyramide | Primary: 4°C overnight plus 30-min room-temperature recovery; HRP: room temperature; TSA: room temperature, dark | Primary overnight; HRP 30 min; TSA 10 min | PBS 3 × 5 min after primary, HRP, and TSA | Complete second target-specific TSA cycle
11 | Antibody/HRP stripping after cycle 2 | Citrate antigen-retrieval buffer pH 6.0 (YM1004) | Medium-high microwave heating; remove bound primary and HRP secondary; natural cooling | 30 min | PBS 3 × 5 min | Separate second and third same-species cycles
12 | Reblocking and cycle 3 staining | 3% BSA; cycle-3 rabbit primary; Polymer-HRP; corresponding tyramide | BSA at room temperature; primary 4°C overnight plus 30-min room-temperature recovery; HRP at room temperature; TSA at room temperature, dark | BSA 30 min; primary overnight; HRP 30 min; TSA 10 min | PBS 3 × 5 min after primary, HRP, and TSA | Complete final target-specific TSA cycle
13 | Nuclear counterstaining | DAPI kit (KeyGEN BioTECH, KGA215) | Room temperature, dark | 10 min | PBS 3 × 5 min | Label nuclei
14 | Mounting | Antifade mounting medium (KeyGEN BioTECH, KGF028) | Apply and cover with coverslip | Not specified | Not applicable | Preserve fluorescence for imaging
15 | Whole-slide scanning | Olympus VS200 digital slide scanner | 20× objective; dedicated optical filter channels | Scan-specific | Not applicable | Acquire multiplex images

## Optical_Acquisition
Optical acquisition parameters
Channel | Fluorophore | Excitation_filter | Beam_splitter | Emission_filter | Scanner | Objective | Exposure_ms | Exposure_source | Notes
DAPI | DAPI | ET395/25x | T412lpxr | ET431/28m | Olympus VS200 | 20× | 36.102 | Archived VS200 acquisition-property screenshot for one representative human GART/EPCAM/OLFM4 scan; scan-specific only | Dedicated narrow-band optical channel; exposure not generalized to other slides
520 | Fluorescein / XTSA520 | ET490/20x | T505lpxr | ET525/20m | Olympus VS200 | 20× | 68.294 | Archived VS200 acquisition-property screenshot for one representative human GART/EPCAM/OLFM4 scan; scan-specific only | EPCAM in representative scan; other-panel exposure values not recovered from the archived screenshot
570 | CY3 / XTSA570 | ET546/22x | T562lpxr | ET572/23m | Olympus VS200 | 20× | 3.285 | Archived VS200 acquisition-property screenshot for one representative human GART/EPCAM/OLFM4 scan; scan-specific only | GART in representative scan; other-panel exposure values not recovered from the archived screenshot
690 | CY5 / XTSA690 | ET645/30x | T660lpxr | ET690/50m | Olympus VS200 | 20× | 13.404 | Archived VS200 acquisition-property screenshot for one representative human GART/EPCAM/OLFM4 scan; scan-specific only | OLFM4 in representative scan; other-panel exposure values not recovered from the archived screenshot

## QC_Availability
Multiplex TSA quality-control availability
Item | Status | Evidence/source | Manuscript wording
Sequential TSA protocol | Documented | Original Nanjing Yiermei human and mouse technical-service reports | Describe as sequential TSA, not conventional simultaneous fluorescent-secondary staining.
Same-species primary separation strategy | Documented | One rabbit primary per cycle with covalent tyramide deposition and heat stripping before the next cycle | State the cycle structure and avoid implying simultaneous discrimination of rabbit primaries.
Antibody/HRP stripping between cycles | Documented | Citrate buffer pH 6.0; medium-high microwave; 30 min after rounds 1 and 2; natural cooling; PBS washes | Report stripping explicitly; do not reduce it to washing.
Dedicated narrow-band filters | Documented | Supplied narrow-band filter specification and provider confirmation; DAPI/520/570/690 filter sets listed in Optical_Acquisition | State optical filter separation and distinguish channels from display pseudocolors.
Single-plex controls | Not performed / not archived for this batch | No dedicated single-plex control slides were available in the archived batch records | State transparently that these controls were not performed or not archived; do not claim validation.
No-primary controls | Not performed / not archived for this batch | No no-primary control slides were available in the archived batch records | State transparently that these controls were not performed or not archived; do not claim validation.
Post-stripping carry-over control | Not performed / not archived for this batch | No dedicated residual-antibody/carry-over control slides were available in the archived batch records | Do not claim absence of carry-over or successful formal carry-over validation.
Formal cross-talk matrix | Not performed / not archived for this batch | No formal channel cross-talk validation matrix was available in the archived batch records | Do not claim formal cross-talk validation.
Raw single-channel images | Representative channel-separated images available in Figure 7; standalone raw per-channel exports not separately provided | Figure 7 contains separate DAPI and individual-marker channels together with merged images; original VS200 VSI/ETS multichannel scan files are retained. | Representative channel-separated images are shown in Figure 7, and the original VS200 multichannel scan files are available upon reasonable request.
Spectral unmixing | No computational spectral-unmixing step identified in the archived acquisition metadata | Available acquisition record documents dedicated optical filter separation and does not document computational spectral unmixing | Use: ‘No computational spectral unmixing was applied; channel separation was performed using dedicated optical filter sets.’